## Event 1515
BID FORM SUMMARY EVENT 1515
[5 empty] | TanksCO |  | TMI Coatings |  | BRZ Coatings |  | Classic Protective Coatings
Line No.. | Item No. | Description | Unit | Estimated Quantity | Bid Unit Price | Bid Price | Bid Unit Price | Bid Price | Bid Unit Price | Bid Price | Bid Unit Price | Bid Price
General
1 | Base Bid | Mobilization | LS | 1 | 22000 | 22000 | 80000 | 80000 | 30000 | 30000 | 30000 | 30000
2 | Base Bid | Waste Disposal | LS | 1 | 10000 | 10000 | 6000 | 6000 | 50000 | 50000 | 3000 | 3000
3 | Base Bid | Disinfection & Testing | LS | 1 | 3000 | 3000 | 2000 | 2000 | 5000 | 5000 | 2000 | 2000
4 | Base Bid | Site Restoration | LS | 1 | 15000 | 15000 | 4000 | 4000 | 5000 | 5000 | 5000 | 5000
5 | Base Bid | 2-Year Warranty | LS | 1 | 6000 | 6000 | 5000 | 5000 | 15000 | 15000 | 3000 | 3000
6 | Base Bid | Temporary Site Fencing | LS | 1 | 15000 | 15000 | 6000 | 6000 | 12000 | 12000 | 6000 | 6000
Exterior Structural
7 | Base Bid | Remove Existing Access Tube Manway Screen and Replace with Rubber Gasket | LS | 1 | 1200 | 1200 | 5000 | 5000 | 1000 | 1000 | 4200 | 4200
8 | Base Bid | Replace the Handrail System Toe-Plate with a New Toe-Plate Meeting OSHA Standards | LS | 1 | 18000 | 18000 | 7000 | 7000 | 5000 | 5000 | 5600 | 5600
9 | Base Bid | Remove Loose, Cracked, and Spalled Grout under the Base Plates. Repair Using Non-Shrink 3,000 PSI Grout or Elastomeric Sealant as Applicable | LS | 1 | 3500 | 3500 | 3000 | 3000 | 4000 | 4000 | 6000 | 6000
10 | Base Bid | Cleanout Overflow and Drain Discharges and Replace the Existing Screens with New No. 24 Mesh Stainless Steel Screens | LS | 1 | 1200 | 1200 | 2000 | 2000 | 1000 | 1000 | 800 | 800
11 | Base Bid | Replace Existing Tank Vent Screen with New No. 24 Mesh Stainless Steel Screen | LS | 1 | 1200 | 1200 | 4000 | 4000 | 500 | 500 | 1000 | 1000
12 | Base Bid | Repair Access Tube Manway Vent to Original Shape. Replace Existing Screen with New No. 24 Mesh Stainless Steel Screen | LS | 1 | 2000 | 2000 | 4000 | 4000 | 4000 | 4000 | 1200 | 1200
13 | Base Bid | Furnish and Install Grab Bar on Tank Roof Meeting OSHA Standards | LS | 1 | 2000 | 2000 | 3000 | 3000 | 1500 | 1500 | 1200 | 1200
14 | Base Bid | Remove and Dispose of All Existing Exterior Manway Hardware, Gaskets, and Locks. Replace with New Stainless Steel Hardware, Gaskets, and Locks | LS | 1 | 2000 | 2000 | 1000 | 1000 | 3000 | 3000 | 1000 | 1000
Interior Structural
15 | Base Bid | Caulking - Interior wet Lap Joints | LS | 1 | 8000 | 8000 | 8000 | 8000 | 5000 | 5000 | 4000 | 4000
16 | Base Bid | Remove by Air Arc Gouging, Cutting Torch, or Grinding all Surface Imperfections Including Scab Marks | LS | 1 | 6000 | 6000 | 2000 | 2000 | 5000 | 5000 | 3000 | 3000
17 | Base Bid | Replace Missing/Broken Light Bulbs with New LED Light Bulbs | LS | 1 | 1600 | 1600 | 1000 | 1000 | 4000 | 4000 | 1200 | 1200
18 | Base Bid | Remove and Dispose of All Existing Interior Manway Hardware, Gaskets, and Locks. Replace with New Stainless Steel Hardware, Gaskets, and Locks | LS | 1 | 800 | 800 | 1000 | 1000 | 3000 | 3000 | 1200 | 1200
19 | Base Bid | Remove and Replace Existing Riser Pipe Insulation with New Insulation and Aluminum Jacketing | LS | 1 | 28000 | 28000 | 20000 | 20000 | 14000 | 14000 | 11000 | 11000
20 | Base Bid | Furnish and Install Submersible Tank Mixing System | LS | 1 | 36000 | 36000 | 27000 | 27000 | 38000 | 38000 | 29800 | 29800
Coatings
21 | Base Bid | Dehumidification | LS | 1 | 40000 | 40000 | 12000 | 12000 | 17000 | 17000 | 13800 | 13800
22 | Base Bid | Containment System | LS | 1 | 125000 | 125000 | 145000 | 145000 | 110000 | 110000 | 70000 | 70000
23 | Base Bid | Interior Wet - Complete Coating Removal and Replacement | LS | 1 | 325000 | 325000 | 517000 | 517000 | 410000 | 410000 | 695000 | 695000
24 | Base Bid | Interior Dry - Complete Coating Removal & Replacement and Maintenance | LS | 1 | 240760 | 240760 | 14000 | 14000 | 70000 | 70000 | 58000 | 58000
25 | Base Bid | Exterior - Complete Coating Removal and Replacement | LS | 1 | 440400 | 440400 | 986000 | 986000 | 840000 | 840000 | 1227200 | 1227200
26 | Base Bid | Exterior - Logo (Option #1) | LS | 1 | 10000 | 10000 | 14000 | 14000 | 10000 | 10000 | 4500 | 4500
27 | TOTAL BID PRICE Plesae enter this amount on line response on Supplier Portal via www.stpaulbids.com |  |  |  | 1363660 |  | 1879000 |  | 1663000 |  | 2188700
Alternate Bids
28 | Alternate A | Total 5 Year Warranty (Add Additional 3 Years to Base Bid 2-Year Warranty) | LS | 1 | 15000 | 15000 | 24000 | 24000 | 70000 | 70000 | 52000 | 52000
The quantities provided in this bid form are approximate only. Payment will be made for quantities of work ordered and actually installed and completed. The City reserves the right to reject any or all bids, waive any informalities in any bid, and omit any part of the above work. City intends to award all of the work shown in the Bid Form to one responsible bidder in the best interest of Owner. By submitting a completed bid form, the bidder certifies that the bidder has examined the site of the work, the plans and specifications and is acquainted with all conditions affecting the construction of the work. "The contract will be awarded to the lowest responsible bidder meeting the specified project requirements. Before a bid is considered for award, the bidder may be required to submit documentation to substantiate that they are a responsible bidder capable of performing the specified work, including references, experience and capabilities in performing comparable work, business and technical organization and financial resources." Note: Owner reserves the right to accept/reject any or all line items. Quantities listed are an estimate; the unit bid price will be used in all instances for any quantity in the line item.